{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["材料"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"材料","index":0,"n_rows":42,"n_cols":8,"rows_kept":42,"merged":[[0,0,0,8],[1,0,1,8],[2,7,2,8],[3,0,3,7],[4,2,5,2],[4,4,5,4],[4,7,9,8],[6,2,7,2],[6,4,7,4],[8,2,9,2],[8,4,9,4],[10,0,10,8],[11,0,13,0],[11,2,13,2],[11,7,25,8],[14,0,15,0],[14,2,15,2],[14,4,15,4],[16,0,17,0],[16,2,17,2],[16,4,17,4],[18,0,18,6],[21,0,21,6],[23,0,23,6],[26,0,26,6],[34,0,34,8],[35,0,35,8],[36,0,36,8],[37,0,37,8],[38,0,38,8]],"flags":["formulas_cached_only"]}
["21#楼博物馆通风空调材料价格清单"]
["施工队伍：（材料公司-负责人）"]
["细目号","细目名称","服务区域","型号及规格","单位","数量","单价","备注（工程内容）"]
["21#楼博物馆直接膨胀式空气处理机组"]
[1,"直膨式空调室外机","展厅（防火分区一）","制冷量180kw","台",2,null,"详见0510-21#博物馆暖通图纸"]
["2","直膨式空调处理机组（室内机）",null,"3万风量",null,2]
[3,"直膨式空调室外机","序厅（防火分区二）","制冷量180kw","台",1]
["4","直膨式空调处理机组（室内机）",null,"3万风量",null,1]
[5,"直膨式空调室外机","展厅（防火分区二）","制冷量210kw","台",4]
["6","直膨式空调处理机组（室内机）",null,"4万风量",null,4]
["21#楼博物馆变冷煤流量多联机、1拖1风管机"]
["1","变频多联机（上出风）室外机","消防控制室（新采购设备）","34HP","台",1,null,"详见0510-21#博物馆暖通图纸"]
[null,"变频多联机（上出风）室内机",null,"1056风量","台",4]
[null,"变频多联机（上出风）室内机",null,"1056风量","台",8]
[2,"1拖1室外机（侧出风）室外机","研学区（利旧设备）","6HP","台",52]
[null,"1拖1室外机（侧出风）室内机",null,"2000风量",null,52]
[3,"1拖1室外机（侧出风）室外机","休息室（利旧设备）","3HP","台",2]
[null,"1拖1室外机（侧出风）室内机",null,"1100风量",null,2]
["21#博物馆新风换气机"]
["1","新风换气机","研学区（防火分区一）","4000风量","台",4]
[2,"新风换气机","办公会议区（防火分区二）","3000风量","台",1]
["21#楼博物馆分体空调"]
[1,"柜式分体空调","配电房","单冷型，制冷量12.0kW","台",4]
["21#楼博物馆空调末端风口"]
[1,"温控旋流风口",null,"1000风量","套",71]
["2","温控球型喷口（序厅）",null,"1000风量","套",18]
["风管"]
["1","风管","空调区域","0.5mm、0.6mm、0.75mm、1mm、1.1mm厚","m2",8000,null,"预估数量"]
["2","保温","空调区域","3公分B1保温棉","m2",8000,null,"预估数量"]
["3","其他辅材",{"$nulls":5},"自填"]
["刚结构"]
["1","刚结构",null,"方钢、角码等等辅材","项",null,null,"自填，包安装到位"]
["其他"]
["1",{"$nulls":6},"自填，包安装到位"]
["备注：1、本表所有单价包含完成本细目工程的所有材料费用（含材料采购、装卸运输、安装、调试、税金等一切费用）。        \n"]
["2、各细目的工作内容及结算规则包括但不限于甲方与业主签订的合同相关规定要求，凡业主不给予甲方计量的相关内容，视为包含在相关工作以内。 "]
["3、材料由甲方采购材料时，甲方将根据购买时价格扣除相关材料费用。 "]
["4、此表中各项单价执行过程中不作调整。 "]
["5、预估的工程数量不作为结算的依据，结算数量不得超过经甲方验收合格并计量、审计的工程数量。"]
[]
[null,"甲方代表",{"$nulls":3},"乙方代表"]
[null,"日期",{"$nulls":3},"日期"]